## Daily log
Commercial Pool Daily Log Sheet: Daily log
One sheet per day, one row per reading round: free and combined chlorine, pH, temperature, the flow or pressure reading, whether the main drain is visible, the bather count, anything fed, and who signed for it.
Aquatic facility name
Aquatic venue (pool, spa, wading pool, splash pad)
Facility permit / ID number
Log date
Hours open
Disinfectant type (chlorine, bromine, other)
Cyanuric acid in use (yes / no)
Disinfectant feed (manual / automated controller)
Qualified operator on duty
Operator certificate number
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Time of reading | Free chlorine (DPD-FC) ppm | Combined chlorine ppm | pH | Water temp (F) | Flow meter (GPM) | Filter pressure in / out (PSI) | Main drain or tile visible (Y/N) | Bather count | Chemicals added since last reading | Operator initials
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Frequencies and figures below are quoted by section from the 2023 Model Aquatic Health Code (MAHC), 4th Edition, Code Language, U.S. Centers for Disease Control and Prevention, accessed 2026-09-12: https://www.cdc.gov/model-aquatic-health-code/media/pdfs/2023-MAHC-508.pdf

## Daily log (Sample)
Commercial Pool Daily Log Sheet: Daily log (Sample)
One sheet per day, one row per reading round: free and combined chlorine, pH, temperature, the flow or pressure reading, whether the main drain is visible, the bather count, anything fed, and who signed for it.
Aquatic facility name |  | Riverbend Community Aquatic Center
Aquatic venue (pool, spa, wading pool, splash pad) |  | Main pool
Facility permit / ID number |  | PERMIT-00000
Log date |  | 07/08/2026
Hours open |  | 10:00 AM to 7:00 PM
Disinfectant type (chlorine, bromine, other) |  | Chlorine
Cyanuric acid in use (yes / no) |  | Yes
Disinfectant feed (manual / automated controller) |  | Automated controller
Qualified operator on duty |  | R. Mercado
Operator certificate number |  | CPO-00000
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Time of reading | Free chlorine (DPD-FC) ppm | Combined chlorine ppm | pH | Water temp (F) | Flow meter (GPM) | Filter pressure in / out (PSI) | Main drain or tile visible (Y/N) | Bather count | Chemicals added since last reading | Operator initials
8:30 AM | 2.4 | 0.1 | 7.5 | 82 | 320 | 12 / 16 | Y | 0 | None | RM
10:30 AM | 2.2 | 0.2 | 7.5 | 82 | 318 | 12 / 16 | Y | 24 | None | RM
12:30 PM | 1.9 | 0.3 | 7.6 | 83 | 316 | 13 / 17 | Y | 61 | Liquid chlorine, 1 gal (feeder) | RM
2:30 PM | 2.6 | 0.3 | 7.5 | 83 | 314 | 13 / 18 | Y | 88 | None | AT
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Frequencies and figures below are quoted by section from the 2023 Model Aquatic Health Code (MAHC), 4th Edition, Code Language, U.S. Centers for Disease Control and Prevention, accessed 2026-09-12: https://www.cdc.gov/model-aquatic-health-code/media/pdfs/2023-MAHC-508.pdf

## Weekly and monthly
Commercial Pool Daily Log Sheet: Weekly and monthly
The readings that are not daily: alkalinity weekly, salt weekly on a salt system, calcium hardness, cyanuric acid, and the saturation index monthly, total dissolved solids quarterly.
Aquatic facility name
Aquatic venue (pool, spa, wading pool, splash pad)
Facility permit / ID number
Log date
Hours open
Disinfectant type (chlorine, bromine, other)
Cyanuric acid in use (yes / no)
Disinfectant feed (manual / automated controller)
Qualified operator on duty
Operator certificate number
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Date | Total alkalinity ppm (weekly) | Salt ppm (weekly, salt systems) | Cyanuric acid ppm (monthly) | Calcium hardness ppm (monthly) | Saturation index (monthly) | Total dissolved solids ppm (quarterly) | Microbiological sample (date / result) | Tested by | Notes
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Frequencies and figures below are quoted by section from the 2023 Model Aquatic Health Code (MAHC), 4th Edition, Code Language, U.S. Centers for Disease Control and Prevention, accessed 2026-09-12: https://www.cdc.gov/model-aquatic-health-code/media/pdfs/2023-MAHC-508.pdf

## Chemicals added
Commercial Pool Daily Log Sheet: Chemicals added
What actually went in the water, when, in what amount, and which reading prompted it. A record of what was fed, not a recommendation of what to feed.
Aquatic facility name
Aquatic venue (pool, spa, wading pool, splash pad)
Facility permit / ID number
Log date
Hours open
Disinfectant type (chlorine, bromine, other)
Cyanuric acid in use (yes / no)
Disinfectant feed (manual / automated controller)
Qualified operator on duty
Operator certificate number
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Date | Time | Aquatic venue | Product (label name) | Amount added | Reading that prompted it | Fed by (feeder / manual) | Venue reopened at | Operator initials
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Frequencies and figures below are quoted by section from the 2023 Model Aquatic Health Code (MAHC), 4th Edition, Code Language, U.S. Centers for Disease Control and Prevention, accessed 2026-09-12: https://www.cdc.gov/model-aquatic-health-code/media/pdfs/2023-MAHC-508.pdf

## Equipment and backwash
Commercial Pool Daily Log Sheet: Equipment and backwash
Filter pressures and flow, the time a backwash or filter clean started and finished, feeder and controller checks, and any fault that interrupted circulation, filtration, or disinfection.
Aquatic facility name
Aquatic venue (pool, spa, wading pool, splash pad)
Facility permit / ID number
Log date
Hours open
Disinfectant type (chlorine, bromine, other)
Cyanuric acid in use (yes / no)
Disinfectant feed (manual / automated controller)
Qualified operator on duty
Operator certificate number
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Date | Time | Filter influent pressure (PSI) | Filter effluent pressure (PSI) | Flow meter reading (GPM) | Backwash or filter clean started | Backwash or filter clean finished | Feeder or controller checked / calibrated | Equipment fault or interruption (and how long) | Operator initials
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Frequencies and figures below are quoted by section from the 2023 Model Aquatic Health Code (MAHC), 4th Edition, Code Language, U.S. Centers for Disease Control and Prevention, accessed 2026-09-12: https://www.cdc.gov/model-aquatic-health-code/media/pdfs/2023-MAHC-508.pdf

## Incidents and closures
Commercial Pool Daily Log Sheet: Incidents and closures
Illness, injury, and contamination incidents: the bather count and the readings at the time, when the venue closed, what was done, the readings at reopening, and when the AHJ was told.
Aquatic facility name
Aquatic venue (pool, spa, wading pool, splash pad)
Facility permit / ID number
Log date
Hours open
Disinfectant type (chlorine, bromine, other)
Cyanuric acid in use (yes / no)
Disinfectant feed (manual / automated controller)
Qualified operator on duty
Operator certificate number
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Date | Time | Aquatic venue / location | Incident type | Bather count at the time | Free chlorine at the time (ppm) | pH at the time | Venue closed at | Response and who carried it out | Free chlorine at reopening (ppm) | pH at reopening | Reopened at (date and time) | AHJ notified (date and time) | Operator initials
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
Frequencies and figures below are quoted by section from the 2023 Model Aquatic Health Code (MAHC), 4th Edition, Code Language, U.S. Centers for Disease Control and Prevention, accessed 2026-09-12: https://www.cdc.gov/model-aquatic-health-code/media/pdfs/2023-MAHC-508.pdf

## Read me
Commercial Pool Daily Log Sheet: Read me
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.
This workbook is the public pool operator's daily sheet: one page per day per aquatic venue, several reading rounds a day, the bather count, what was fed, backwash times, incidents, and the initials of whoever took the reading. Keep one workbook per venue. Nothing here is validated, computed, or looked up, and nothing here tells you what to add to the water. It records what the water read and who read it.
Frequencies and figures below are quoted by section from the 2023 Model Aquatic Health Code (MAHC), 4th Edition, Code Language, U.S. Centers for Disease Control and Prevention, accessed 2026-09-12: https://www.cdc.gov/model-aquatic-health-code/media/pdfs/2023-MAHC-508.pdf
How often each reading is taken
Quoted from the MAHC by section. Your AHJ's adopted code can require more often, and some adopted codes differ. Where the two disagree, the adopted code wins.
Reading | How often | MAHC section
Free chlorine (DPD-FC), combined available chlorine or total bromine, and pH | Tested before opening each day | MAHC 5.7.5.1A
Free chlorine or bromine and pH, manual feed with no automated controller | Before opening, then every 2 hours while open to the public | MAHC 5.7.5.2
Free chlorine or total bromine and pH, automated feed system | Before opening, then every 4 hours while open to the public | MAHC 5.7.5.3
Water temperature, heated venues | Recorded at the same time as the chlorine and pH test | MAHC 5.7.5.10
In-line ORP, where such systems are installed | Recorded at the same time as the chlorine and pH test | MAHC 5.7.5.4
Total alkalinity | Weekly | MAHC 5.7.5.5
Salt, where in-line electrolytic chlorinators are used | At least weekly, or per the manufacturer instructions | MAHC 5.7.5.11
Calcium hardness | Monthly | MAHC 5.7.5.6
Cyanuric acid, where used | Monthly, and weekly where stabilized chlorine is the primary disinfectant | MAHC 5.7.5.7 and 5.7.5.7.2
Saturation index | Monthly | MAHC 5.7.5.8
Total dissolved solids | Quarterly | MAHC 5.7.5.9
What the reading is read against
MAHC figures, quoted by section. They are not universal limits and they are not a dose: this sheet records the reading, and the code your AHJ has adopted decides what the reading means.
Parameter | MAHC figure | MAHC section
Free chlorine, venues not using cyanuric acid | at least 1.0 ppm at all times, in all areas | MAHC 5.7.3.1.1.2.1
Free chlorine, venues using cyanuric acid | at least 2.0 ppm at all times, in all areas | MAHC 5.7.3.1.1.2.2
Free chlorine, spas | at least 3.0 ppm at all times, in all areas | MAHC 5.7.3.1.1.2.3
Free chlorine, ceiling while open to bathers | not above 10.0 ppm | MAHC 5.7.3.1.1.5A
Bromine | at least 3.0 ppm, and at least 4.0 ppm in spas | MAHC 5.7.3.1.2.2A
Bromine, ceiling while open to bathers | not above 8.0 ppm | MAHC 5.7.3.1.2.3A
pH | maintained at 7.0 to 7.8 | MAHC 5.7.3.4.1
Combined chlorine (chloramines) | the level above which the facility must take action to reduce it is 0.4 ppm | MAHC 5.7.4.4.2A
Total alkalinity | maintained in the range 60 to 180 ppm | MAHC 5.7.4.4.1A
Calcium hardness | not above 2500 ppm | MAHC 5.7.4.4.3A
Water temperature, ceiling | 104 F (40 C) | MAHC 5.7.4.7.2A
Water clarity
MAHC 5.7.6.1 wants the bottom visible while the water is static at all times the venue is open or available for use, read off the reference tile or main drain (5.7.6.1.1), and 5.7.6.2 wants that reference point visible from any point on the deck up to 30 feet (9.1 m) away in a direct line of sight. MAHC 6.4.1.3.1 item 21 puts the same clarity check in the daily inspection done before opening.
Bather count
MAHC 6.4.1.6A lists the daily attendance at the aquatic facility among the daily monitoring and testing records, and notes that where attendance is not ordinarily recorded a guest sign-in book can be used to track it. MAHC 6.4.2.1 asks for a plan covering fluctuations in bather occupancy that does not exceed the designed theoretical peak occupancy.
How long to keep it
MAHC 6.4.1.2.1 keeps aquatic facility records for a minimum of 3 years, available on request by the authority having jurisdiction. MAHC 6.4.1.2.2 adds that local, state, territorial, federal, or tribal law may require further records, documentation, and forms. Read the code your AHJ has adopted before you decide how long to keep a binder.
What MAHC 6.4.1.6A lists for daily records
Quoted in the code's own order so you can check this workbook's columns against it line by line. The code says the list is not exhaustive.
1 | pH
2 | Disinfectant residuals
3 | Combined chlorine concentrations
4 | Operating pressures of water recirculation pumps and filters, or the corresponding flow rate from flow meter readings
5 | CYA levels, if used
6 | Maintenance and malfunctioning of equipment, including dates and time of all equipment calibration including water quality testing devices
7 | Dates of challenge testing of the chemical feeder interlock system
8 | Aquatic venue water temperature, if heated
9 | The time of filter backwash or cleaning
10 | Calcium hardness
11 | Total alkalinity
12 | Saturation index
13 | Microbiological testing, if applicable, dates and times samples were taken, and results
14 | Any equipment failure, power outage, or error interrupting circulation, filtration, or disinfection for more than 1 hour
15 | The daily attendance at the aquatic facility
16 | Secondary treatment as outlined in MAHC 5.7.3.7.7 and 5.7.3.7.8
Tabs in this workbook
Daily log | One sheet per day, one row per reading round: free and combined chlorine, pH, temperature, the flow or pressure reading, whether the main drain is visible, the bather count, anything fed, and who signed for it.
Weekly and monthly | The readings that are not daily: alkalinity weekly, salt weekly on a salt system, calcium hardness, cyanuric acid, and the saturation index monthly, total dissolved solids quarterly.
Chemicals added | What actually went in the water, when, in what amount, and which reading prompted it. A record of what was fed, not a recommendation of what to feed.
Equipment and backwash | Filter pressures and flow, the time a backwash or filter clean started and finished, feeder and controller checks, and any fault that interrupted circulation, filtration, or disinfection.
Incidents and closures | Illness, injury, and contamination incidents: the bather count and the readings at the time, when the venue closed, what was done, the readings at reopening, and when the AHJ was told.
Daily log (Sample) | The same Daily log grid filled with one clearly fictional day, so you can see the cadence before you use the blank tab.
Record sheet only. It is not a compliance record and it carries no dosing or handling instruction. The Model Aquatic Health Code is a model, not law: the health code your authority having jurisdiction has adopted sets the readings, the frequency, and the retention for your pool.